Display Screen:                                   Select on/off till backing blue light comes on

Device Setup.

Pressing the set button allows you to set the current time to the device.

Use the + and - accordingly.

Press the set button again you can set the current day.

You will see the days listed at the top from 1-7.

By pressing PRG you can flick through the days.

Pressing the set button you can also set the following modes as you wish: Comfort, Economy and Holiday.

Once you are happy leave the device and it will return to its Default screen.

(See first picture)

Display Screen:                               Select on/off till backing blue light comes on.

Programming the device

By selecting manual, you will see 4 modes: Eco - Comfort - Holiday - Programmable.

When you see programmable mode hold down the PRG button till the display changes from:

You will see the days listed at the top from 1-7. By pressing PRG you can flick through the days.

You can also see the hours of the days 0-24 highlighted in the boxes at the bottom.

Selecting the Manual button you are able to turn the boiler ON or OFF

The + and - buttons allows you to select which hours you’d like the boiler on for

You can now program you boiler as you like.